INVITATION TO TENDER (ITT)
PHASE 1 WORKS TENDER DOCUMENT
ROESTOCK PARK HUT, COLNEY HEATH

1. INTRODUCTION

Colney Heath Parish Council invites suitably qualified and experienced contractors to submit a tender for the Phase 1 refurbishment and compliance works at Roestock Park Hut, Colney Heath.

This tender is based on:

- Interim costings and phasing prepared by JC (email dated 30 July 2024), and

- The Brasier Freeth Report dated February 2023.

The Phase 1 works are intended to address immediate fabric repairs, statutory compliance, fire and life safety, and operational improvements to the building.

2. PROJECT DESCRIPTION

Roestock Park Hut is a single-storey community building requiring essential refurbishment, safety upgrades, and statutory testing and remediation.

The building contains asbestos-containing materials (ACMs). All works must therefore be undertaken in strict accordance with current asbestos legislation, Health & Safety Executive (HSE) guidance, and best practice.

3. SCOPE OF PHASE 1 WORKS

The Contractor shall allow for the full design coordination, management, and execution of the Phase 1 works as described below.

3.1 Building Envelope Works

- Remove moss growth, clear gutters, and seal holes to roof (subject to asbestos constraints)

- Roof replacement works

- Replace existing perspex glazing with 14 no. double-glazed units

- Install security grilles to windows

- Provide safe access to the roof for undertaking repairs

- Improve ceiling void ventilation by installing gable-end vents

- Install gratings to gullies to prevent blockages

- Fully insulate roof void to current standards

- Insulate and overclad internal walls

3.2 Gas and Heating Systems

- Test gas boiler and heating system and itemise defects

- Re-fix displaced radiators and associated pipework

- Construct cupboard around boiler

- Install thermostatic radiator valves to all radiators (assume approximately 15 radiators)

- Prepare and paint all radiators

3.3 Electrical Works

- Test all electrical systems and installations, including fixed wiring

- Test and repair emergency lighting system

- Replace cracked fused spur in female WC

- Provide lockable housings to electricity and gas intakes/meters

- Install mechanical extract ventilation to WCs and kitchen

- Improve lighting levels in access corridor

- Provide new lighting installation in the hall

3.4 Plumbing, Water Services and Drainage

- Test water supply system

- Undertake CCTV drainage survey

- Confirm surface water discharge arrangements

- Make internal and external stopcocks accessible and serviceable

- Replace drainage inspection chamber cover

- Install air admittance valve to soil vent pipe terminating in roof void

- Replace cracked urinal

- Provide hot water to male and female WCs

3.5 Fire and Life Safety

- Undertake a Fire Risk Assessment

- Install central mains-powered fire alarm system

- Provide emergency lighting and fire escape signage

- Replace internal doors with fire-rated doors including smoke seals, intumescent strips and door closers
(1 no. double door and 3 no. single-leaf doors)

3.6 Access and Equality

- Undertake an access audit to assess the requirement for wheelchair access and accessible WC provision

Note: No construction works relating to accessibility improvements are included at this stage.

3.7 Internal Fabric and Finishes

- Prepare and fill internal cracks to ceilings and walls as identified

- Complete full internal redecoration

- Remove and replace fibre board ceiling panels (subject to asbestos constraints)

3.8 Asbestos Works

- Garage demolition

- Update the asbestos register

- Prepare an asbestos management plan

- Safely remove and dispose of asbestos-containing fibreboard ceiling panels in accordance with current legislation

- Replace removed panels with suitable non-asbestos alternative materials

3.9  EXTERNAL WORKS

- General tidy up of the site, cut grass, clear moss from paths and repair fencing

- New fence to separate PROW within NW and SW boundary height and length similar to existing approx. length 90m

- Repair damaged concrete post adjacent to entrance door

4. EXCLUSIONS

Unless expressly included above, the following are excluded from this Phase 1 tender:

- Phase 2 works

- Future accessibility construction works

- Solar PV installations

- Replacement of heating system with alternative technologies beyond repairs listed

The following items are identified as potential Phase 2 works. Progression of these elements will be subject to:

- Compliance with the published tender criteria, including quality and price assessment; and

- Submission of a clear supporting statement demonstrating technical suitability, value for money, and overall benefit to the Council.

Indicative Phase 2 items include:

- Replacement of the existing heating system (details to be specified by the contractor, including proposed system type, efficiency standards, and lifecycle costs);

- Opportunities to secure or align with available solar or renewable energy grant funding;

- Confirmation that implementation at this stage is commercially viable and represents best value when considered alongside Phase 1 works.

Tenderers should clearly set out their rationale, cost breakdown, programme implications, and any funding opportunities within their submission.

5. ASBESTOS AND HEALTH & SAFETY

Tenderers shall:

- Allow for all necessary asbestos controls, surveys, and air monitoring

- Provide evidence of appropriate asbestos training, competence, and licensing

- Submit detailed method statements and risk assessments

- Allow for compliant handling, removal, transportation, and disposal of asbestos waste

- Provide waste consignment notes and completion documentation

6. PROGRAMME

Tenderers shall:

- Submit a proposed programme for the Phase 1 works

- Identify key milestones, critical path activities, and long-lead items

- Confirm anticipated commencement date and overall duration

7. TENDER SUBMISSION REQUIREMENTS

Tender submissions must include:

- A lump sum price for completion of the Phase 1 works

- A cost breakdown by trade or work section

- Proposed construction programme

- Method statements and risk assessments

- Non-canvassing certificate

- Non-collusive Tendering certificate

- Details of proposed subcontractors

- Evidence of current insurance (Public Liability, Employers’ Liability, and Contractors’ All Risks), minimum of £1,000,000

- Relevant experience on similar projects

- A minimum of two recent references

8. CONTRACT CONDITIONS

- Form of Contract: To be confirmed by the Client (anticipated JCT Minor Works or similar)

- Payment Terms: Monthly interim valuations

- Defects Liability Period: To be stated by tenderer

- Retention: To be confirmed by the Client

9. SITE VISIT

Tenderers are strongly advised to attend a site visit prior to tender submission.
No claims for lack of site knowledge will be entertained after submission.

10. EVALUATION CRITERIA

The award of this contract will be based on a combination of Relevant Experience and Expertise, Understanding of the Tender Brief, Value for Money, and Quality of Submission. Detailed feedback regarding the reasons for awarding or not awarding the contract will be provided to tenderers upon request once a decision has been finalised.

Tender submissions will be assessed against the following factors:

- Suitability – Professional qualifications, relevant experience, and adequate professional indemnity coverage.

- Consideration for Local Suppliers and SMEs – Encouraging engagement with local businesses where appropriate.

- Cost vs. Quality Assessment – Overall price will carry a weighting of 40%, while quality, including technical merit and proposed approach, will carry a weighting of 60%.

- References – Demonstrated performance and reliability, supported by references from previous clients or employers.

The decision of Colney Heath Parish Council regarding the award of the contract is final and binding.

11. TENDER RETURN

Tender submissions shall be:

- Submitted in electronic format (PDF)

- Tenders must not be conditional

- Clearly marked “Phase 1 Works Tender – Roestock Park Hut”

- Returned by the deadline of 5pm on Tuesday 5th May 2026 by email to clerk@colneyheathparishcouncil.gov.uk.

Late submissions may not be considered.

12. RIGHTS OF COLNEY HEATH PARISH COUNCIL

CHPC reserves the right, in its absolute discretion, to cancel or suspend this tender process at any time and for any reason. If we need to do this, we will notify you in writing as soon as reasonably practicably.

CHPC is not responsible and will not pay for any expenses or losses you incur during, but not limited to, the tender preparation, site visits, post-tender negotiations or interviews.

PHASE 1 WORKS – PRICING SCHEDULE
ROESTOCK PARK HUT, COLNEY HEATH

INSTRUCTIONS TO TENDERERS

Tenderers are to complete all sections of this Pricing Schedule.
All rates and prices are to include for labour, materials, plant, access, waste disposal, overheads and profit, and full compliance with statutory requirements.

Prices shall be fixed for the duration of the works.

A. PRELIMINARIES

| Item | Description | Price (£) |
| --- | --- | --- |
| A1 | Mobilisation and demobilisation |  |
| A2 | Site management and supervision |  |
| A3 | Health & Safety compliance (RAMS, inductions, PPE) |  |
| A4 | Welfare facilities |  |
| A5 | Temporary services (power, water, lighting) |  |
| A6 | Scaffolding / access equipment |  |
| A7 | Protection of existing building and finishes |  |
| A8 | Insurances, bonds, and guarantees |  |
| A9 | Asbestos management during works |  |
| A TOTAL |  |  |

B. BUILDING ENVELOPE WORKS

| Item | Description | Price (£) |
| --- | --- | --- |
| B1 | Remove moss growth, clear gutters and seal roof holes (asbestos constraints apply) |  |
| B2 | Roof replacement works |  |
| B3 | Replace perspex glazing with 14 no. double-glazed units |  |
| B4 | Install security grilles to windows |  |
| B5 | Provide safe access to roof for repairs |  |
| B6 | Improve ceiling void ventilation (gable-end vents) |  |
| B7 | Install gratings to gullies |  |
| B8 | Fully insulate roof void to current standards |  |
| B TOTAL |  |  |

C. GAS AND HEATING SYSTEMS (consider phase 2 item and supporting statement)

| Item | Description | Price (£) |
| --- | --- | --- |
| C1 | Test gas boiler and heating system and itemise defects |  |
| C2 | Re-fix displaced radiators and pipework |  |
| C3 | Construct cupboard around boiler |  |
| C4 | Install thermostatic radiator valves (approx. 15 no.) |  |
| C5 | Prepare and paint radiators |  |
| C TOTAL |  |  |

D. ELECTRICAL WORKS

| Item | Description | Price (£) |
| --- | --- | --- |
| D1 | Test all electrical installations including fixed wiring |  |
| D2 | Test and repair emergency lighting system |  |
| D3 | Replace cracked fused spur in female WC |  |
| D4 | Lockable housings to electricity and gas meters |  |
| D5 | Mechanical extract ventilation to WCs and kitchen |  |
| D6 | Improve lighting levels in access corridor |  |
| D7 | New lighting installation to hall |  |
| D TOTAL |  |  |

E. PLUMBING, WATER SERVICES & DRAINAGE

| Item | Description | Price (£) |
| --- | --- | --- |
| E1 | Test water supply system |  |
| E2 | CCTV drainage survey |  |
| E3 | Confirm surface water discharge arrangements |  |
| E4 | Make internal and external stopcocks accessible |  |
| E5 | Replace drainage inspection chamber cover |  |
| E6 | Install air admittance valve to soil vent pipe |  |
| E7 | Replace cracked urinal |  |
| E TOTAL |  |  |

F. FIRE AND LIFE SAFETY

| Item | Description | Price (£) |
| --- | --- | --- |
| F1 | Undertake Fire Risk Assessment |  |
| F2 | Central mains-powered fire alarm system |  |
| F3 | Emergency lighting and fire escape signage |  |
| F4 | Replace internal doors with fire-rated doors (1 double, 3 single) |  |
| F TOTAL |  |  |

G. ACCESS AND EQUALITY

| Item | Description | Price (£) |
| --- | --- | --- |
| G1 | Access audit (wheelchair access and WC provision) |  |
| G TOTAL |  |  |

H. INTERNAL FABRIC & FINISHES

| Item | Description | Price (£) |
| --- | --- | --- |
| H1 | Prepare and fill internal cracks to ceilings and walls |  |
| H2 | Full internal redecoration |  |
| H3 | Remove and replace fibre board ceiling panels |  |
| H TOTAL |  |  |

I. ASBESTOS WORKS

| Item | Description | Price (£) |
| --- | --- | --- |
| I1 | Garage demolition |  |
| I2 | Update asbestos register |  |
| I3 | Prepare asbestos management plan |  |
| I4 | Removal and disposal of asbestos-containing materials |  |
| I5 | Replacement with non-asbestos materials |  |
| I TOTAL |  |  |

J. EXTERNAL WORKS

| Item | Description | Price (£) |
| --- | --- | --- |
| K1 | General tidy up of the site, cut grass, clear moss from paths and repair fencing |  |
| K2 | New fence to separate PROW within NW and SW boundary height and length similar to existing approx. length 90m |  |
| K3 | Repair damaged concrete post adjacent to entrance door |  |
| KTOTAL |  |  |

K. COMPLIANCE & STATUTORY ITEMS

| Item | Description | Price (£) |
| --- | --- | --- |
| J1 | CDM / Building Safety Act compliance |  |
| J2 | Refurbishment & Demolition pre-construction survey |  |
| J3 | Building Regulations application and admin |  |
| J4 | Planning application (if required) |  |
| J TOTAL |  |  |

L. EXTERNAL WORKS

L. SUMMARY

| Section | Total (£) |
| --- | --- |
| A |  |
| B |  |
| C |  |
| D |  |
| E |  |
| F |  |
| G |  |
| H |  |
| I |  |
| J |  |
| K |  |
| SUBTOTAL |  |
| VAT (if applicable) |  |
| TOTAL TENDER SUM |  |

DECLARATION

We confirm that the above prices represent a full and fixed price for completion of the Phase 1 Works in accordance with the ITT documents. (phase 2 items maybe included if a supporting statement has been included)

Contractor Name: __________________________

Signed: __________________________

Date: __________________________

FORM OF TENDER
PHASE 1 WORKS
ROESTOCK PARK HUT, COLNEY HEATH

To:
Colney Heath Parish Council 
Highfield Park Office AL4 0PR

Project:
Phase 1 Refurbishment and Compliance Works
Roestock Park Hut, Colney Heath

We, the undersigned, having examined the Invitation to Tender, Specification, Pricing Schedule and all other documents forming the Tender Documents for the above-mentioned works, hereby offer to carry out and complete the Phase 1 Works in accordance with those documents.

1. TENDER SUM

We offer to execute and complete the Works for the Lump Sum of:

£__________________________________________
(Amount in words: ____________________________________________________________)

exclusive / inclusive of VAT (delete as applicable).

2. CONTRACT PERIOD

We confirm that the works will be completed within:

__________ weeks from the date of commencement.

Proposed commencement date: ____________________________

3. VALIDITY OF TENDER

We confirm that this Tender shall remain open for acceptance for a period of 90 days from the Tender Return Date, unless otherwise agreed in writing.

Colney Heath Parish Council does not undertake to accept the lowest tender, or part, or all of any Tender, and the acknowledgement of receipt of any submitted Tender shall not constitute any actual or implied agreement between the Parish Council and the Tenderer. The Parish Council reserves the right to accept any part or all of any Tender or Tenders at its sole discretion.

4. FORM OF CONTRACT

We confirm our agreement, subject to acceptance of this Tender, to enter into a formal contract in the form stated in the Invitation to Tender (anticipated to be JCT Minor Works Contract or similar), without amendment other than those expressly agreed in writing.

5. INSURANCES

We confirm that we hold, and will maintain for the duration of the works, the following minimum levels of insurance:

- Public Liability Insurance: £________________

- Employers’ Liability Insurance: £________________

- Contractors’ All Risks Insurance: £________________

Evidence of insurance is enclosed / will be provided prior to commencement (delete as applicable).

6. SUB-CONTRACTORS

We confirm that specialist works, including asbestos-related works, will be undertaken only by suitably qualified and licensed subcontractors.

Proposed key subcontractors (if known):

| Trade | Company Name |
| --- | --- |
| Asbestos |  |
| Electrical |  |
| Mechanical |  |
| Fire Safety |  |
| Other |  |

7. DECLARATIONS

We confirm that:

- We have visited the site or otherwise fully acquainted ourselves with the site conditions.

- We have allowed for all risks, obligations, and requirements described in the Tender Documents.

- Our Tender price includes all labour, materials, plant, access, supervision, overheads, profit, and compliance with statutory requirements.

- We are not aware of any conflict of interest that would affect this Tender.

8. SIGNATURE

Name of Contractor: _______________________________________

Registered Address: _______________________________________

For Colney Heath Parish Council

Authorised Signatory Name: _________________________________

Position: _________________________________________________

Signature: ________________________________________________

Date: ____________________________________________________